## CDSCO
device_type | risk_class | intended_use | license_type | timeline_months | qms_required | clinical_data_required
Thermometer | A | Temperature measurement | MD-5 | 3 | No | No
Blood Pressure Monitor | B | BP monitoring | MD-5 | 6 | Yes | No
Pulse Oximeter | B | Oxygen saturation | MD-5 | 6 | Yes | No
ECG Machine | C | Cardiac monitoring | MD-9 | 9 | Yes | Yes
Ventilator | C | Life support | MD-9 | 9 | Yes | Yes
Pacemaker | D | Cardiac rhythm management | MD-14 | 18 | Yes | Yes
Surgical Scissors | A | Surgical cutting | MD-5 | 3 | No | No
Infusion Pump | C | Drug delivery | MD-9 | 9 | Yes | Yes
MRI Scanner | C | Diagnostic imaging | MD-9 | 9 | Yes | Yes
HIV Test Kit | C | Disease diagnosis | MD-9 | 9 | Yes | Yes
Glucose Meter | B | Glucose monitoring | MD-5 | 6 | Yes | No
Bone Implant | D | Bone replacement | MD-14 | 18 | Yes | Yes

## FDA
device_type | risk_class | pathway | predicate_needed | timeline_months | clinical_trials_required | ide_required
Thermometer | I | Exempt | No | 1 | No | No
Blood Pressure Monitor | II | 510(k) | Yes | 6 | No | No
Pulse Oximeter | II | 510(k) | Yes | 6 | No | No
ECG Machine | II | 510(k) | Yes | 6 | No | No
Ventilator | III | PMA | No | 36 | Yes | Yes
Pacemaker | III | PMA | No | 36 | Yes | Yes
Surgical Scissors | I | Exempt | No | 1 | No | No
Infusion Pump | II | 510(k) | Yes | 9 | No | No
MRI Scanner | II | 510(k) | Yes | 9 | No | No
HIV Test Kit | III | PMA | No | 36 | Yes | Yes
Glucose Meter | II | 510(k) | Yes | 6 | No | No
Bone Implant | III | PMA | No | 36 | Yes | Yes

## EU_MDR
device_type | risk_class | notified_body_needed | timeline_months | technical_file_type | clinical_evaluation_required | pmcf_required
Thermometer | I | No | 3 | Basic UDI-DI | No | No
Blood Pressure Monitor | IIa | Yes | 9 | Full Tech File | Yes | No
Pulse Oximeter | IIa | Yes | 9 | Full Tech File | Yes | No
ECG Machine | IIb | Yes | 12 | Full Tech File | Yes | Yes
Ventilator | IIb | Yes | 18 | Full Tech File | Yes | Yes
Pacemaker | III | Yes | 24 | Full Tech File | Yes | Yes
Surgical Scissors | I | No | 3 | Basic UDI-DI | No | No
Infusion Pump | IIb | Yes | 12 | Full Tech File | Yes | Yes
MRI Scanner | IIa | Yes | 12 | Full Tech File | Yes | No
HIV Test Kit | III | Yes | 18 | Full Tech File | Yes | Yes
Glucose Meter | IIa | Yes | 9 | Full Tech File | Yes | No
Bone Implant | III | Yes | 24 | Full Tech File | Yes | Yes